| 18714 PARTHENIA STREET - NORTHRIDGE - CALIFORNIA 91324 - USA PHONE: (818) 886-3755 - FAX: (818) 772-7690 |
| --- |
| PRODUCTION CODE: | SS-125-S3-100L-385-.25-L3-144-SS144-BW-SP |
|  | PART NO. | R026-00000172 | OCR # | 24913 |
|  | DESCRIPTION: | BEARING RTD |
|  | DATE: | 04-19-10 | REV: | NC |

# Text boxes

Specifications

ELEMENT: 100 Ohm Plt Thin Film  - 385 ALPHA

Class B to DIN EN 60751

CONFIG: Single 3 WIRE

TEMPERATURE RANGE: -50 to 260ºC (-58 to 500ºF)

3 WIRE 28 AWG. TEFLON JACKET/INSULATION W/ SS OVERBRAID OIL RESISTANT WIRE

144”

STRIP 1” X 1/2"

1/8” TEFLON RETRACTED

Ø .125”

.300”

Signature: _____________________________